## Sheet1
[5 empty] | 4221415 | 4222550 | 1135
4222548.5356
Substructure |  |  |  |  | 333550 | 146.96 | 7.901%
Allowance for breaking out car park surface |  | Item |  | 8000
Allowance for removing fencing | 150 | m | 5 | 750
Allowance for removing barriers etc |  | Item |  | 500
Excavate to reduce levels and c.a ( average .63 deep ) | 315 | m³ | 40 | 12600
Retaining wall to front and one elevation | 70 | m | 150 | 10500
Under pinning to one elevation | 12 | m | 1050 | 12600
Allowance for forming basement | 35 | m² | 480 | 16800
Allowance for piled foundation, ground beams,ground floor slab | 410 | m² | 410 | 168100
Foundations to lifts | 1 | nr | 3500 | 3500
Foundations to staircases | 3 | nr | 1500 | 4500
Staircase slabs | 90 | m² | 80 | 7200
Steps | 3 | nr | 500 | 1500
Ramps to slabs | 2 | nr | 500 | 1000
Ground Contamination |  | Item |  | 10000
Obstructions in ground |  | Item |  | 10000
Working round services |  | Item |  | 8000
Removal of Japanese Knotweed |  | Item |  | 45500
Underpinning due to removal of knotweed |  | Item |  | 12500
Frame |  |  |  |  | 156000 | 68.73 | 3.695%
Allowance for concrete/steel frame based on 45kg/sqm | 120 | tonne | 1200 | 144000
Allowance for fire protection | 120 | tonne | 100 | 12000
Upper Floors |  |  |  |  | 208750 | 91.98 | 4.945%
Allowance for insitu/precast concrete upper floors with Holorib and reinforcement | 2175 | m² | 50 | 108750
Allowance for add on balconies | 20 | nr | 3750 | 75000
Allowance for add on access platforms | 10 | nr | 2500 | 25000
Roof |  |  |  |  | 116040 | 51.13 | 2.749%
Concrete roof slab, insulation and single membrane | 490 | m² | 100 | 49000
Skirtings to roof finishes | 218 | m | 20 | 4360
Work to roof parapets | 170 | m | 115 | 19550
Roofs over staircases | 50 | m² | 145 | 7250
Upstands and skirtings | 60 | m | 20 | 1200
Paving to terraced areas | 144 | m² | 45 | 6480
Roof terrance screens | 52 | m | 350 | 18200
Allowance for rainwater installation |  | Item |  | 10000
Mansafe system |  | Item |  | 5000
Stairs |  |  |  |  | 86200 | 37.98 | 2.042%
Concrete staircases including all finishes (13 flights) | 13 | nr | 3500 | 45500
Internal staircases | 13 | nr | 1550 | 20150
Staircases to commercial area | 1 | nr | 650 | 650
Handrails to ramps | 9 | m | 150 | 1350
Handrails to steps | 7 | m | 150 | 1050
Balustrade to main stairs | 70 | m | 250 | 17500
External Walls, Windows and External Doors |  |  |  |  | 720120 | 317.29 | 17.06%
Allowance for precast concrete/timber effect external walling system | 1570 | m² | 185 | 290450
Entrance doors with screen | 4 | nr | 2500 | 10000
Entrance doors | 49 | nr | 650 | 31850
Windows | 840 | m² | 320 | 268800
Sliding Doors | 30 | nr | 750 | 22500
Extra over for toughened and laminated glazng to ground floor windows | 184 | m² | 105 | 19320
Bin store doors | 1 | nr | 750 | 750
Finish to underside of overhang | 29 | m² | 50 | 1450
Allowance for solar shading | 300 | m² | 250 | 75000
Internal Walls |  |  |  |  | 106165 | 46.78 | 2.515%
Division walls | 660 | m² | 65 | 42900
Lift walls | 105 | m² | 65 | 6825
Internal walls | 1315 | m² | 40 | 52600
Extra over for water resistant board to bathrooms | 640 | m² | 6 | 3840
Internal Doors |  |  |  |  | 57300 | 25.25 | 1.357%
Entrance( inc within external doors )
Single | 150 | nr | 350 | 52500
Pair | 4 | nr | 450 | 1800
Cupboard doors | 4 | nr | 750 | 3000
Wall Finishes |  |  |  |  | 63950 | 28.18 | 1.515%
Internal face of external walls | 1580 | m² | 13 | 20540
Division walls | 1320 | m² | 13 | 17160
Internal walls ( Decorations only ) | 2630 | m² | 5 | 13150
Lift walls | 100 | m² | 11 | 1100
Tiling to bathrooms | 480 | m² | 25 | 12000
Floor finishes |  |  |  |  | 124310 | 54.77 | 2.945%
Floor finish to include screed, insulation, and vinyl | 2260 | m² | 44 | 99440
Screed and vinyl to staircase areas | 320 | m² | 35 | 11200
Laminate wood to halls and living rooms | 370 | m² | 20 | 7400
Carpet to bedrooms and Staircases | 310 | m² | 12 | 3720
Ceramic to bathrooms | 150 | m² | 17 | 2550
Ceiling Finishes |  |  |  |  | 50000 | 22.03 | 1.184%
Allowance for plasterboard on battens | 2260 | m² | 20 | 45200
Allowance for finish to underside of staircases | 320 | m² | 15 | 4800
Commercial left as shell
Fittings and Fixings |  |  |  |  | 105270 | 46.38 | 2.494%
Kitchen fittings | 31 | nr | 1480 | 45880
Allowance for larger units | 11 | nr | 500 | 5500
Wardrobes | 31 | nr | 450 | 13950
Sundries | 31 | nr | 500 | 15500
Curtain battens | 120 | nr | 15 | 1800
Storage bins( lockable ) | 11 | nr | 40 | 440
Post boxes | 3 | nr | 900 | 2700
White Goods (to private sale / Shared ownership) units |  | Item |  | 19500
Sanitary Fittings |  |  |  |  | 28350 | 12.49 | 0.6716%
W.C with mirror over | 32 | nr | 300 | 9600
Basins | 32 | nr | 150 | 4800
Bath with shower over | 31 | nr | 450 | 13950
Disposal Installations |  |  |  |  | 43130 | 19 | 1.022%
Waste, soil and vent installation, PVCu pipework and fittings | 2270 | m² | 19 | 43130
Water Installations |  |  |  |  | 61290 | 27 | 1.452%
Cold and hot water system | 2270 | m² | 27 | 61290
Space Heating and Air Treatment |  |  |  |  | 170250 | 75.01 | 4.033%
Cold and hot water system | 2270 | m² | 75 | 170250
Ventillation Installations |  |  |  |  | 18900 | 8.33 | 0.4477%
Extract vents from bathroms and kitchens | 63 | nr | 300 | 18900
Electrical Installations |  |  |  |  | 147550 | 65.01 | 3.495%
Cold and hot water system | 2270 | m² | 65 | 147550
Gas Installation |  |  |  |  | 0 | 0 | 0%
Costs detailed within external services section |  |  |  | 0
Lift Installation |  |  |  |  | 45000 | 19.83 | 1.066%
Lifts | 1 | nr | 45000 | 45000
Communication Installation |  |  |  |  | 20150 | 8.88 | 0.4773%
Video entry systems | 31 | nr | 350 | 10850
IRS system | 31 | nr | 300 | 9300
Builder's Works in Connection With Services |  |  |  |  | 20000 | 8.81 | 0.4738%
BWIC |  | Item |  | 20000
External Works |  |  |  |  | 79380 | 34.98 | 1.88%
Terraced areas | 100 | m² | 40 | 4000
Paved areas | 170 | m² | 30 | 5100
Form steps down from pavement level | 3 | nr | 1000 | 3000
Balustrades to ditto | 9 | m | 400 | 3600
Railing to back edge of pavement | 50 | m | 180 | 9000
Balustrade to private terrace areas | 50 | m | 180 | 9000
Division screens to ditto | 9 | nr | 800 | 7200
Boundary fencing | 60 | m³ | 50 | 3000
Gates | 2 | nr | 500 | 1000
Landscaped areas | 240 | m² | 15 | 3600
Plants etc |  | Item |  | 2500
Retaining wall to rear of site | 60 | m | 125 | 7500
Large Refuse areas | 1 | nr | 3000 | 3000
Small Refuse areas | 2 | nr | 1500 | 3000
Cycle racks | 31 | nr | 480 | 14880
Drainage |  |  |  |  | 80040 | 35.27 | 1.896%
Buildings | 2680 | m² | 28 | 75040
Externals | 500 | m² | 10 | 5000
External Services |  |  |  |  | 106020 | 46.71 | 2.511%
Water connection | 31 | nr | 1500 | 46500
Electrical connection | 31 | nr | 170 | 5270
Gas connection | 31 | nr | 1300 | 40300
BT connection | 31 | nr | 100 | 3100
External lighting | 31 | nr | 350 | 10850
Preliminaries |  |  |  |  | 706700 | 311.37 | 16.74%
General Preliminaries |  |  |  | 606000
Craneage |  |  |  | 100700
Design and Survey Fees |  |  |  |  | 254000 | 111.91 | 6.017%
Architect (Post Stage D) |  |  |  | 105000
Structural Engineer |  |  |  | 60000
Services Engineer |  |  |  | 47000
Acoustic Consultant |  |  |  | 10000
NHBC Fees |  |  |  | 20000
Abnormal Surveys |  |  |  | 12000
Overhead and Proft |  |  |  |  | 313000 | 137.91 | 7.415%
Overhead and Profit @ 8% of total costs |  |  |  | 313000
Total Complete Construction Costs |  |  |  |  | 4221415 | 1859.97 | 100%

## Notes Page
Estimated Final Account | 4222548.5356
internal floor area | 1898
balconies + access | 134.37
commercial | 58.66
basement plant | 34.58
Roof terraces | 144.01
Cost per m2 | 1860.465
2269.62

## Tenure Split - new
WANSEY STREET Tenure Split
| Sept 04 | [7 empty] | 3959664.48 |  |  | 1 | 2 | 3 | 4 |  | 1 | 2 | 3 | 4
[12 empty] | 12 | 7 | 12 | 1 | 32 | 12 | 7 | 12 | 1
level | unit no. | apt. block | apt. no. | unit type | type | tenure | net area (*) | no. habitable rooms | Cost per unit |  | Type | Rent | S/O | Open Market | Commercial |  | Rent | S/O | Open Market | Commercial
GARDEN | 1 (shop) | D |  | n/a | commercial |  | 51 |  | 35700 |  | 4 |  |  |  | 41172.3 |  |  |  |  | 41172.3
| 2 | D | 1 | H | 3 bed maisonnette | rent | 93 | 5 | 192270.1247 |  | 1 | 0 |  |  |  |  | 192270.1247
| 10 | C | 2 | D | 2 bed flat | rent | 64 | 4 | 132314.9245 |  | 1 | 0 |  |  |  |  | 132314.9245
| 15 | C | 14 | D' | 2 bed flat | rent | 64 | 4 | 132314.9245 |  | 1 | 0 |  |  |  |  | 132314.9245
| 20 | B | 15 | D | 2 bed flat | rent | 64 | 4 | 132314.9245 |  | 1 | 0 |  |  |  |  | 132314.9245
| 25 | B | 24 | A' | 3 bed maisonnette | rent | 74 | 5 | 152989.1315 |  | 1 | 0 |  |  |  |  | 152989.1315
| 29 | A | 25 | A | 3 bed maisonnette | rent | 73 | 5 | 150921.7108 |  | 1 | 0 |  |  |  |  | 150921.7108
FIRST | 11 | C | 3 | D | 2 bed flat | S/O | 65 | 4 | 134382.3452 |  | 2 |  | 2200 |  |  |  |  | 134382.3452
| 16 | C | 16 | A' | 3 bed maisonnette | rent | 75 | 5 | 155056.5522 |  | 1 | 0 |  |  |  |  | 155056.5522
| 21 | B | 17 | A | 3 bed maisonnette | rent | 75 | 5 | 155056.5522 |  | 1 | 0 |  |  |  |  | 155056.5522
| 26 | B | 26 | B' | 1 bed flat | rent | 46 | 3 | 95101.352 |  | 1 | 0 |  |  |  |  | 95101.352
| 30 | A | 27 | B | 1 bed flat | rent | 45 | 3 | 93033.9313 |  | 1 | 0 |  |  |  |  | 93033.9313
SECOND | 4 | D | 4 | E | 1 bed flat | S/O | 51 | 3 | 105438.4555 |  | 2 |  | 2200 |  |  |  |  | 105438.4555
| 5 | D | 5 | G | 1 bed flat | rent | 47 | 3 | 97168.7727 |  | 1 | 0 |  |  |  |  | 97168.7727
| 12 | C | 6 | A | 3 bed maisonnette | Private | 75 | 5 | 155056.5522 |  | 3 |  |  | 2200 |  |  |  |  | 155056.5522
| 17 | C | 18 | B' | 1 bed flat | rent | 46 | 3 | 95101.352 |  | 1 | 0 |  |  |  |  | 95101.352
| 22 | B | 19 | B | 1 bed flat | S/O | 46 | 3 | 95101.352 |  | 2 |  | 2200 |  |  |  |  | 95101.352
| 27 | B | 28 | D+ | 2 bed flat | S/O | 62 | 4 | 128180.0831 |  | 2 |  | 2200 |  |  |  |  | 128180.0831
| 31 | A | 29 | D+ | 2 bed flat | Private | 61 | 4 | 126112.6624 |  | 3 |  |  | 2200 |  |  |  |  | 126112.6624
THIRD | 6 | D | 7 | E | 1 bed flat | S/O | 51 | 3 | 105438.4555 |  | 2 |  | 2200 |  |  |  |  | 105438.4555
| 7 | D | 8 | G | 1 bed flat | Private | 47 | 3 | 97168.7727 |  | 3 |  |  | 2200 |  |  |  |  | 97168.7727
| 13 | C | 9 | B | 1 bed flat | Private | 46 | 3 | 95101.352 |  | 3 |  |  | 2200 |  |  |  |  | 95101.352
| 14 | C | 20 | B' | 1 bed flat | S/O | 46 | 3 | 95101.352 |  | 2 |  | 2200 |  |  |  |  | 95101.352
| 23 | B | 21 | B | 1 bed flat | Private | 46 | 3 | 95101.352 |  | 3 |  |  | 2200 |  |  |  |  | 95101.352
| 24 | B | 30 | D' | 2 bed flat | Private | 65 | 4 | 134382.3452 |  | 3 |  |  | 2200 |  |  |  |  | 134382.3452
|  | A | 31 | D | 2 bed flat | Private | 64 | 4 | 132314.9245 |  | 3 |  |  | 2200 |  |  |  |  | 132314.9245
FOURTH | 9 | D | 10 | F | 2 bed maisonnette | Private | 89 | 4 | 184000.4419 |  | 3 |  |  | 2200 |  |  |  |  | 184000.4419
| 19 | D | 11 | G | 1 bed flat | Private | 47 | 3 | 97168.7727 |  | 3 |  |  | 2200 |  |  |  |  | 97168.7727
|  | C | 12 | B | 1 bed flat | Private | 46 | 3 | 95101.352 |  | 3 |  |  | 2200 |  |  |  |  | 95101.352
|  | C | 22 | C' | 3 bed maisonnette | S/O | 75 | 5 | 155056.5522 |  | 2 |  | 2200 |  |  |  |  | 155056.5522
|  | B | 23 | C | 3 bed maisonnette | Private | 75 | 5 | 155056.5522 |  | 3 |  |  | 2200 |  |  |  |  | 155056.5522
ROOF | 20 | C | 13 | C | 2 bed maisonette | Private | 75 | 5 | 155056.5522 |  | 3 |  |  | 2200 |  |  |  |  | 155056.5522
[5 empty] | TOTAL |  | 1898 | 120 | 3959664.48 |  | Additions | 0 | 15400 | 26400 | 41172.3 |  | 1583644.2527 | 818698.5954 | 1521621.6319 | 41172.3
[11 empty] | No. of units | 12 | 7 | 12 | 1 |  | 12 | 7 | 12 | 1
[18 empty] | 6600 | 26400
RESIDENTIAL (All tenure types)
[8 empty] | Contract Sum | 3959664.48 |  |  | 95409.3544 | 55655.4567 | 95409.3544
[8 empty] | Works to Commercial included witihinj Contract | 35700
[8 empty] | Contract Sum for Residential | 3923964.48
COMMERCIAL
[8 empty] | Addition Sum Commercial (additional contingency sum to be instructed by SHG) | 41172
[8 empty] | Works to Commercial included witihinj Contract | 35700
[8 empty] | Revised Commercial Sum | 76872
[8 empty] | Total | 4000836.48
[8 empty] | General Variations | 246474.1656
[8 empty] | Variations to Rented | 5417.37
[8 empty] | Variations to S/O | -4226.04
[8 empty] | Variations to Open Market Sale | 15218.56
[8 empty] | Rent | 1684470.9772 | 39.51%
[8 empty] | S/O | 870128.0122 | 20.41%
[8 empty] | Open Market | 1632249.5463 | 38.28%
[8 empty] | Commercial | 76872 | 1.803%
[9 empty] | 4263720.5356 | 100%
4222548.5356
[8 empty] | Original Residential | 3923964.48 |  | Included | 33000 |  |  |  |  | 0 | 15400 | 26400
[8 empty] | Original Commercial | 35700 |  | Additions | 41800 |  |  |  |  | 0 | 8800 | 0
[17 empty] | 1583644.2527 | 812098.5954 | 1495221.6319 | 41172.3
[8 empty] | Base without Rented Residential | 3890964.48
[8 empty] | Revised Residential | 3932764.48
[8 empty] | Revised Commercial | 76872.3 | [7 empty] | 33000
3923964.48
[8 empty] | Total | 4009636.78
3890964.48
[8 empty] | Rent | 1583644.2527 | 39.91%
[8 empty] | S/O | 812098.5954 | 20.47%
[8 empty] | Open Market | 1495221.6319 | 37.68%
[8 empty] | Commercial | 76872.3 | 1.937%
[9 empty] | 3967836.78 | 100%
Note on J2: kregan: See sum of cells J46:J48

## Areas
Wansey Street
Gross Internal Floor areas
Location |  | Basement plant |  | Commercial |  |  |  | Flats including the office areas | [6 empty] | Totals |  | Staircases
[6 empty] | Block A |  | Block B |  | Block C |  | Block D
|  | Area | Perimeter | Area | Perimeter | Area | Perimeter | Area | Perimeter | Area | Perimeter | Area | Perimeter |  | Area | Perimeter | areas
Basement | say | 34.58 | 23.81 | [11 empty] | 34.58 | 23.81
Ground |  |  |  | 34.58 | 23.81 | 65.31 | 32.67 | 133.13 | 47.17 | 133.02 | 47.12 | 44.98 | 27.2 |  | 411.02 | 177.97 | 23.21
22.68
42.02
87.91
First |  |  |  | 24.08 | 31.9 | 61.26 | 32.6 | 128.67 | 48.56 | 128.7 | 48.66 | 44.9 | 27.14 |  | 387.61 | 188.86 | 17.2
16.71
22.96
56.87
Second | [5 empty] | 61.64 | 32.79 | 124.05 | 48.86 | 125.11 | 49.08 | 104.9 | 58.13 |  | 415.7 | 188.86 | 16.98
17.82
23.8
58.6
Third | [5 empty] | 64.85 | 32.57 | 129.79 | 48.94 | 128.21 | 48.65 | 104.67 | 58.25 |  | 427.52 | 188.41 | 17.28
17
24.05
58.33
Fourth | [6 empty] | 0 | 66.02 | 32.88 | 134.27 | 47.32 | 105.6 | 58.33 |  | 305.89 | 138.53 | 16.51
25.73
42.24
Fifth | [11 empty] | 47.34 | 28.86 |  | 47.34 | 28.86 | 17.06
| Total | 34.58 | 23.81 | 58.66 | 55.71 | 253.06 | 130.63 | 581.66 | 226.41 | 649.31 | 240.83 | 452.39 | 257.91 |  | 2350.67 | 935.3 | 321.01
|  | Area | Perimeter
Roof areas |  | 74.69 | 34.87 |  |  | Summary of areas
|  | 71.6 | 34.23 |  |  |  | Commercial | flats | staircases | balcony | access platforms |  |  | total
|  | 73.14 | 34.56 |  |  | grd | 34.58 | 376.44 | 87.91 |  |  |  |  | 498.93
|  | 143.54 | 48.89 |  |  | first |  | 387.61 | 56.87 | 23.43 | 5.54 |  |  | 473.45
|  | 72.41 | 34.96 |  |  | second |  | 415.7 | 58.6 | 37.84 | 37.84 |  |  | 549.98
|  | 53.47 | 30.54 |  |  | third |  | 427.52 | 58.33 | 14.86 | 14.86 |  |  | 515.57
| Total | 488.85 | 218.05 |  |  | fourth |  | 305.89 | 42.24 | 0 | 0 |  |  | 348.13
[6 empty] | fifth |  | 47.34 | 17.06 | 0 | 0 |  |  | 64.4
Extra over for |  | 71.6
Roof terrances |  | 72.41 |  |  |  |  | 34.58 | 1960.5 | 321.01 | 76.13 | 58.24 |  | total | 2450.46
| Total | 144.01
2129.45
Roofs to staircases |  | 16.06 | 19.96
|  | 16.91 | 20.19
|  | 16.41 | 20.05
| Total | 49.38 | 60.2
Balconies | First floor | 7.94 | 12.66 | 7.97 | 12.69 | 7.52 | 12.41 | 0 | 0 |  |  | 23.43 | 37.76 | First floor
| Second flr | 7.62 | 12.45 | 7.63 | 12.53 | 7.59 | 12.44 | 0 | 0 |  |  |  |  | Second flr
|  | 0 | 0 | 7.56 | 12.4 | 7.44 | 12.46 | 0 | 0
|  | 7.62 | 12.45 | 15.19 | 24.93 | 15.03 | 24.9 | 0 | 0 |  |  | 37.84 | 62.28
| Third flr | 0 | 0 | 7.64 | 12.46 | 7.22 | 7.22 | 0 | 0 |  |  | 14.86 | 19.68 | Third flr
| Fourth flr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | Fourth flr
| Total | 15.56 | 25.11 | 30.8 | 50.08 | 29.77 | 44.53 | 0 | 0 |  |  | 76.13 | 119.72 | Total
Acess plantforms | First floor | 1.86 | 6.08 | 1.88 | 6.08 | 1.8 | 6.08 | 0 | 0 |  |  | 5.54 | 18.24 | First floor
| Second flr | 1.88 | 6.12 | 1.94 | 6.09 | 1.85 | 6.09 | 0 | 0 |  |  |  |  | Second flr
|  | 0 | 0 | 1.87 | 6.14 | 1.76 | 5.96 | 0 | 0
|  | 1.88 | 6.12 | 3.81 | 12.23 | 3.61 | 12.05 | 0 | 0 |  |  | 9.3 | 30.4
| Third flr | 0 | 0 | 1.82 | 6.07 | 1.72 | 5.88 | 0 | 0 |  |  | 3.54 | 11.95 | Third flr
| Fourth flr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | Fourth flr
| Total | 3.74 | 12.2 | 7.51 | 24.38 | 7.13 | 24.01 | 0 | 0 |  |  | 18.38 | 60.59 | Total

## BCIS Smmary
WANSEY STREET - Cost Plan
| GENERAL SUMMARY- | [5 empty] | WATES CONSTRUCTION Ltd.
COST ESTIMATE |  |  |  |  | } |  |  | GROSS INTERNAL FLOOR AREA:-
[5 empty] | } | September 2004 |  |  | 2269.62 | m²
ELEMENTAL ANALYSIS |  |  |  |  | } |  |  |  | 24430.1897 | ft²
[6 empty] | Element |  | Cost / gross |  | Cost / gross
[6 empty] | Costs. |  | int floor area. |  | int floor area.
[6 empty] | £ |  | £ /m² |  | £ / ft²
1- | SUBSTRUCTURE |  |  |  |  | 247273.286 |  | 108.9492 |  | 10.1216
|  |  | [GROUP ELEMENT TOTAL] |  |  | 247273.286 |  | 108.9492 |  | 10.1216
2- | SUPERSTRUCTURE.
| 2-A | Frame. |  |  |  | 170293.28 |  | 75.0316 |  | 6.9706
| 2-B | Upper Floors. |  |  |  | 228637.5 |  | 100.7382 |  | 9.3588
| 2-C | Roof. |  |  |  | 122834.9 |  | 54.1214 |  | 5.028
| 2-D | Stairs. |  |  |  | 85550 |  | 37.6935 |  | 3.5018
| 2-E/F | External Walls,Windows and External Doors |  |  |  | 728217.8627 |  | 320.8545 |  | 29.8081
| 2-G | Internal Walls. |  |  |  | 101584.16 |  | 44.7582 |  | 4.1581
| 2-H | Internal Doors. |  |  |  | 41850 |  | 18.4392 |  | 1.713
|  |  | [GROUP ELEMENT TOTAL] |  |  | 1478967.7027 |  | 651.6367 |  | 60.5385
3- | INTERNAL FINISHES.
| 3-A | Wall Finishes. |  |  |  | 53076.2707 |  | 23.3855 |  | 2.1726
| 3-B | Floor Finishes. |  |  |  | 126265.14 |  | 55.6327 |  | 5.1684
| 3-C | Ceiling Finishes. |  |  |  | 49963.75 |  | 22.0141 |  | 2.0452
|  |  | [GROUP ELEMENT TOTAL] |  |  | 229305.1607 |  | 101.0324 |  | 9.3861
4- | FITTINGS AND FURNISHINGS. |  |  |  |  | 82657.5 |  | 36.4191 |  | 3.3834
|  |  | [GROUP ELEMENT TOTAL] |  |  | 82657.5 |  | 36.4191 |  | 3.3834
5- | SERVICES.
| 5-A | Sanitary Appliances. |  |  | ) | 0 |  | 0 |  | 0
| 5-B | Services Equipment. |  |  | ) | 0 |  | 0 |  | 0
| 5-C | Disposal Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-D | Water Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-E | Heat Source. |  |  | ) | 0 |  | 0 |  | 0
| 5-F | Space Heating/Air Treatment. |  |  | ) | 0 |  | 0 |  | 0
| 5-G | Ventilating System. |  |  | ) | 503631 |  | 221.901 |  | 20.6151
| 5-H | Electrical Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-I | Gas Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-J | Lift Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-K | Protective Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-L | Communication Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-M | Special Installations. |  |  | ) | 0 |  | 0 |  | 0
| 5-N | Builders Costs Associated with Services ) |  |  |  | 0 |  | 0 |  | 0
|  |  | [GROUP ELEMENT TOTAL] |  |  | 503631 |  | 221.901 |  | 20.6716
| BUILDING SUB-TOTAL |  |  |  |  | 2541834.6494 |  | 1119.9384 |  | 104.0448
6- | EXTERNAL WORKS.
| 6-A | Roads, paths, walls, landscaped areas etc |  |  |  | 67634.55 |  | 29.7999 |  | 2.7685
| 6-B | Drainage. |  |  |  | 85220 |  | 37.5481 |  | 3.4883
| 6-C | External Services. |  |  |  | 71032.5 |  | 31.2971 |  | 2.9076
|  |  | [GROUP ELEMENT TOTAL] |  |  | 223887.05 |  | 98.6452 |  | 9.1644
| EXTERNAL WORKS SUB-TOTAL |  |  |  |  | 223887.05 |  | 98.6452 |  | 9.1644
| SUB-TOTAL ( 1Q05 ) |  |  |  |  | 2765721.6994 |  | 1218.5836 |  | 113.2092
PRELIMINARIES | [5 empty] | 523352.5 |  | 230.5904 |  | 21.4224
OVERHEADS AND PROFIT |  |  |  | 8% |  | 290188.8227 |  | 127.8579 |  | 11.8783
Fees allowance including design | [5 empty] | 200000 |  | 88.1205 |  | 8.1866
Contingency |  |  |  | 5% |  | 138286.085 |  | 60.9292 |  | 5.6605
ESTIMATE TOTAL | [5 empty] | 3917549.1071 |  | 1726.0815 |  | 160.3569

## Substructure
ELEMENTAL COSTS |  | 1.0 SUBSTRUCTURE
Description |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  | Unit | quantity | rate | floor area | of element
[5 empty] | £ | £ | £ |  | Typical foundation Measured over Block C 14.4 x 9.6 |  | = | 138.24 | sq.m
Rate
| Allowance for breaking out car park surface |  | Item | 1 | 8000 | 3.5248 | 8000 | Excavate and c/a |  | inc in general area | Cu.m |  | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
| Allowance for removing fencing |  | M | 144.45 | 5 | 0.31823 | 722.25 | Piles ( 2nr per pile cap 1nr for intermediate ) |  |  | Nr. | 18 | 1750 | 31500
|  |  |  | 0 | 0 | 0 | 0
| Allowance for removing barriers etc |  | Item | 1 | 500 | 0.2203 | 500 | Pile caps |  |  | Nr. | 12 | 750 | 9000
|  |  |  | 0 | 0 | 0 | 0
| Excavate to reduce levels and c.a ( average .63 deep ) |  | Cu.m | 314.3259 | 40 | 5.5397 | 12573.036 | Grd beams |  | 14.4 x 2 | M. | 28.8 | 150 | 4320
|  |  |  | 0 | 0 | 0 | 0 |  |  | 9.6 x 3. | M. | 28.8 | 150 | 4320
| Retaining wall to front and one elevation |  | M | 70.01 | 150 | 4.627 | 10501.5
|  |  |  | 0 | 0 | 0 | 0 | Slab |  |  | Sq.m | 138.24 | 35 | 4838.4
| Under pinning to one elevation |  | M | 10 | 750 | 3.3045 | 7500
|  |  |  | 0 | 0 | 0 | 0 | Hardcore base 300mm dep |  |  | Sq.m | 138.24 | 7.5 | 1036.8
| Allowance for forming basement |  | Sq.m | 34.58 | 475 | 7.2371 | 16425.5
|  |  |  | 0 | 0 | 0 | 0 | Reinforcement ( two layers of fabric ) |  |  | Sq.m | 138.24 | 8 | 1105.92
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | [5 empty] | Total | 56121.12
| Allowance for piled foundation, ground beams,ground floor slab |  | Sq.m | 411.02 | 410 | 74.2495 | 168518.2
|  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | Cost per sq.m |  | 405.9688
| Allowance for breaking out obstructions |  | Item | 1 | 5000 | 2.203 | 5000
|  |  |  | 0 | 0 | 0 | 0
| Foundations to lifts |  | Nr. | 1 | 3500 | 1.5421 | 3500
|  |  |  | 0 | 0 | 0 | 0
| Foundations to staircases |  | Nr. | 3 | 1500 | 1.9827 | 4500
|  |  |  | 0 | 0 | 0 | 0
| Staircase slabs |  | Sq.m | 87.91 | 80 | 3.0987 | 7032.8
|  |  |  | 0 | 0 | 0 | 0
| Steps |  | Nr. | 3 | 500 | 0.6609 | 1500
|  |  |  | 0 | 0 | 0 | 0
| Ramps to slabs |  | Nr. | 2 | 500 | 0.4406 | 1000
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
1.0 Substructure total to summary | [5 empty] | 108.9492 | 247273.286

## Frame
ELEMENTAL COSTS |  |  | 2.A FRAME
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
[7 empty] | 0 | 0
| Allowance for concrete/steel frame based on |  |  | tonne | 120.2256 | 1200 | 63.566 | 144270.72
| 45kg/per sq.m |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| area = | 2671.68 | 120.2256 |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Allowance for fire protection |  |  | tonne | 120.2256 | 100 | 5.2972 | 12022.56
[5 empty] | 0 | 0 | 0 | 0
| N.B |  |  |  | 0 | 0 | 0 | 0
| The above area includes the gross internal |  |  |  | 0 | 0 | 0 | 0
| floor area plus the staircase area. |  |  |  | 0 | 0 | 0 | 0
| Assumed that the balconies and accessplatforms |  |  |  | 0 | 0 | 0 | 0
| are add on features |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Allowance for craneage |  |  | item | 1 | 14000 | 6.1684 | 14000
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
2.A Frame total to summary | [6 empty] | 75.0316 | 170293.28

## Upper floors
ELEMENTAL COSTS |  |  | 2.B UPPER FLOORS
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Allowance for insitu/precast concrete upper floors |  |  | Sq.m | 2172.75 | 50 | 47.8659 | 108637.5
[5 empty] | 0 | 0 | 0 | 0
|  | Hollorib | 15 |  | 0 | 0 | 0 | 0
|  | Concrete | 25 |  | 0 | 0 | 0 | 0
|  | Reinf | 8 |  | 0 | 0 | 0 | 0
|  |  | 48 |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| e.o for lense lights to staircase areas(excluded) |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Allowance for add on balconies |  |  | Nr | 10 | 3750 | 16.5226 | 37500
[5 empty] | 0 | 0 | 0 | 0
| Allowance for add on access platforms |  |  | Nr | 10 | 2500 | 11.0151 | 25000
|  | inc balconies |  | Nr | 10 | 3750 | 16.5226 | 37500
[5 empty] | 0 | 0 | 0 | 0
| Allowance for craneage |  |  | item | 1 | 20000 | 8.812 | 20000
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
2.B Upper floors total to summary | [6 empty] | 100.7382 | 228637.5

## Roof
ELEMENTAL COSTS |  |  | 2.C ROOF
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Concrete roof slab insulation single membrane |  |  | Sq.m | 488.85 | 100 | 21.5388 | 48885
[5 empty] | 0 | 0 | 0 | 0
|  | Roof structure | 50 |  | 0 | 0 | 0 | 0
|  | Insulation | 25 |  | 0 | 0 | 0 | 0
|  | roof membrane | 25 |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
|  |  | 100 |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
|  | skirtings |  | M | 218.05 | 15 | 1.4411 | 3270.75
|  | parapets( exc terrace screens) |  | M | 166.05 | 115 | 8.4136 | 19095.75
[5 empty] | 0 | 0 | 0 | 0
| Roofs to staircases |  |  | Sq.m | 49.38 | 145 | 3.1548 | 7160.1
[5 empty] | 0 | 0 | 0 | 0
|  | upstands/shirtings |  | M | 60.2 | 15 | 0.39786 | 903
|  | e.o for lense lights ( excluded ) |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Extra over for terraced areas |  |  |  | 0 | 0 | 0 | 0
|  | paving |  | Sq.m | 144.01 | 30 | 1.9035 | 4320.3
[5 empty] | 0 | 0 | 0 | 0
| Roof terrance screens |  |  | M | 52 | 350 | 8.019 | 18200
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Allowance for rainwater installation |  |  | Item | 1 | 10000 | 4.406 | 10000
[5 empty] | 0 | 0 | 0 | 0
| Allowance for craneage |  |  | item | 1 | 11000 | 4.8466 | 11000
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
2.C Roof total to summary | [6 empty] | 54.1214 | 122834.9

## Stairs
ELEMENTAL COSTS |  |  | 2.D STAIRS
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Allownce for concrete staircases inc all finishes |  |  |  | 0 | 0 | 0 | 0
|  | ( £3,500.00 per floor ) |  |  | 0 | 0 | 0 | 0
| Block A |  | Ground to 3rd | Nr | 1 | 10500 | 4.6263 | 10500
[5 empty] | 0 | 0 | 0 | 0
| Block B |  | Ground to 4th | Nr | 1 | 14000 | 6.1684 | 14000
[5 empty] | 0 | 0 | 0 | 0
| Block C |  | Ground to 5th | Nr | 1 | 17500 | 7.7105 | 17500
[5 empty] | 0 | 0 | 0 | 0
| Basement to ground |  |  | Nr | 1 | 3500 | 1.5421 | 3500
[5 empty] | 0 | 0 | 0 | 0
| Allowance for internal staircases |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
|  | Commercial |  | Nr. | 1 | 650 | 0.28639 | 650
|  | Grd to first |  | Nr. | 4 | 1500 | 2.6436 | 6000
|  | First to second |  | Nr. | 2 | 1500 | 1.3218 | 3000
|  | Second to third |  | Nr. | 3 | 1500 | 1.9827 | 4500
|  | Third to fourth |  | Nr. | 3 | 1500 | 1.9827 | 4500
|  | Fourth to fifth |  | Nr | 1 | 1500 | 0.6609 | 1500
| Handrails to ramps |  |  | M | 9 | 150 | 0.59481 | 1350
[5 empty] | 0 | 0 | 0 | 0
| Handrails to steps |  |  | M | 7 | 150 | 0.46263 | 1050
[5 empty] | 0 | 0 | 0 | 0
| Balustrade to main stairs |  |  | M | 70 | 250 | 7.7105 | 17500
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
2.D Stairs total to summary | [6 empty] | 37.6935 | 85550

## External walls,Doors and Window
ELEMENTAL COSTS |  |  | 2.E, F EXTERNAL WALLS,WINDOWS AND EXTERNAL DOORS
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £ |  | Girth |  |  | External wall areas
[9 empty] | Grd | 134.04 |  | Grd floor |  | Girth | Height | Area | First Floor | Girth | Height | Area |  | Second Floor |  | Girth | Height | Area
| Allowance for pc concrete/timber effect external walling |  |  | Sq.m | 1575.7912 | 185 | 128.445 | 291521.3628 | Ht | 4.25 | 569.67 |  | Block A | 32.67 | 2.805 | 91.6394 |  | Block A | 32.6 | 2.805 | 91.443 |  | Block A | 32.79 | 2.805 | 91.9759
| system |  |  |  | 0 | 0 | 0 | 0 | First | 181.33 |  |  | Block B | 47.17 | 2.81 | 132.5477 |  | Block B | 48.56 | 2.81 | 136.4536 |  | Block B | 48.86 | 2.81 | 137.2966
[5 empty] | 0 | 0 | 0 | 0 | Second | 173.18 |  |  | Block C | 47.12 | 2.81 | 132.4072 |  | Block C | 48.66 | 2.81 | 136.7346 |  | Block C | 49.08 | 2.81 | 137.9148
| Entrance doors and screen |  |  | Nr. | 4 | 2500 | 4.406 | 10000 | Third | 173.67 |  |  | Block D | 27.2 |  |  |  | Dlock D | 27.14 |  |  |  | Dlock D | 58.13
[5 empty] | 0 | 0 | 0 | 0 | Fourth | 163.57 |  | Less internal area |  | 6.55 |  |  | Less internal area |  | 6.47 |  |  | Less internal area |  | 9.06
| Entrance doors |  |  | Nr. | 49 | 650 | 14.0332 | 31850 | Fifth | 162.7 |  |  |  | 20.65 | 2.81 | 58.0265 |  |  | 20.67 | 2.81 | 58.0827 |  |  | 49.07 | 2.81 | 137.8867
[5 empty] | 0 | 0 | 0 | 0 |  | 854.45 |  |  | Commercial | 23.81 |  |  |  | Commercial | 31.9 |  |  |  | Commercial | 0
| Windows | ( at £ 300.00 per sq.m ) |  | Sq.m | 840.24 | 300 | 111.0635 | 252072 | Ht | 3.25 | 2776.9625 | Less internal area |  | 5.62 |  |  | Less internal area |  | 5.52 |  |  | Less internal area |  | 0
[5 empty] | 0 | 0 | 0 | 0 | [5 empty] | 18.19 | 2.81 | 51.1139 |  |  | 26.38 | 2.81 | 74.1278 |  |  | 0 | 0 | 0
|  | Extra over for sliding doors |  | Nr. | 30 | 750 | 9.9136 | 22500
[5 empty] | 0 | 0 | 0 | 0 | [6 empty] | Total | 465.7346 |  |  |  | Total | 496.8417 |  |  |  | Total | 505.0741
|  | Extra over for pair doors |  | Nr. | 0 | 500 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  | Third floor |  | Girth | Height | Area | Fourth Floor | Girth | Height | Area |  | Fifth Floor |  | Girth | Height | Area
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Block A | 32.57 | 2.805 | 91.3589 |  | Block A | 0 | 0 | 0 |  | Block A | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Block B | 48.94 | 2.81 | 137.5214 |  | Block B | 32.88 | 2.81 | 92.3928 |  | Block B | 0 | 0 | 0
| Extra over for toughened and laminated glazng |  |  | Sq.m | 184.08 | 100 | 8.1106 | 18408 |  |  |  |  | Block C | 48.65 | 2.81 | 136.7065 |  | Block C | 47.32 | 2.81 | 132.9692 |  | Block C | 0 | 0 | 0
|  | to ground floor windows |  |  | 0 | 0 | 0 | 0 |  |  |  |  | Dlock D | 58.13 |  |  |  | Dlock D | 58.33 |  |  |  | Dlock D | 28.86
[5 empty] | 0 | 0 | 0 | 0 |  |  |  | Less internal area |  | 9.06 |  |  | Less internal area |  | 9.06 |  |  | Less internal area |  | 0
| Bin store doors |  |  | Nr. | 1 | 750 | 0.33045 | 750 | [5 empty] | 49.07 | 2.81 | 137.8867 |  |  | 49.27 | 2.81 | 138.4487 |  |  | 28.86 | 2.81 | 81.0966
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Commercial | 0 |  |  |  | Commercial | 0 |  |  |  | Commercial | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  | Less internal area |  | 0 |  |  | Less internal area |  | 0 |  |  | Less internal area |  | 0
[5 empty] | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
| Finish to underside of overhang |  |  | Sq.m | 28.09 | 50 | 0.61883 | 1404.5
[5 empty] | 0 | 0 | 0 | 0 | [6 empty] | Total | 503.4734 |  |  |  | Total | 363.8107 |  |  |  | Total | 81.0966
[5 empty] | 0 | 0 | 0 | 0
| Allowance for craneage |  |  | item | 1 | 55000 | 24.2331 | 55000
[13 empty] | External wall areas | [6 empty] | Schedule of windows
[5 empty] | 0 | 0 | 0 | 0 | [8 empty] | Grd floor | Nr | width | height | Sq.m | Single dr | Pair doors | Sliding | Entrance gate | Bin doors
| Allowance for solar shading |  |  | Sq.m | 298.08 | 150 | 19.7002 | 44712 |  |  |  |  | Grd | 465.7346 |  |  | Commercial | 1 | 7.5 | 4.8 | 36
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | First | 496.8417 |  |  | Flats | 12 | 2 | 2.4 | 57.6
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Second | 505.0741 |  |  |  | 5 | 6.9 | 2.4 | 82.8
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Third | 503.4734 |  |  | flat g | 1 | 2 | 2.4 | 4.8
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Fourth | 363.8107 |  |  |  | 1 | 1.2 | 2.4 | 2.88 | 12 |  | 5 | 4 | 1
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Fifth | 81.0966 |  |  | First floor | 9 | 2 | 2.4 | 43.2
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 5 | 6.9 | 2.4 | 82.8 |  |  | 5
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Total | 2416.0311 |  |  |  | 1 | 2 | 1.2 | 2.4
[5 empty] | 0 | 0 | 0 | 0 | [8 empty] | flat g | 2 | 1.2 | 2.4 | 5.76
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 3 | 1.2 | 1.2 | 4.32 | 5 |  | 5
[5 empty] | 0 | 0 | 0 | 0 | [8 empty] | Second floor | 1 | 7.2 | 2.4 | 17.28
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 4 | 1.2 | 2.4 | 11.52
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 8 | 2.4 | 2.4 | 46.08
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 5 | 6.9 | 2.4 | 82.8
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 1 | 5 | 1.2 | 6
[5 empty] | 0 | 0 | 0 | 0 | [9 empty] | 5 | 1.2 | 1.2 | 7.2 | 11 |  | 5
2.E/F External walls total to summary | [6 empty] | 320.8545 | 728217.8627 | [8 empty] | Third floor | 1 | 7.2 | 2.4 | 17.28
[18 empty] | 4 | 1.2 | 2.4 | 11.52
[18 empty] | 11 | 2.4 | 2.4 | 63.36
[18 empty] | 5 | 6.9 | 2.4 | 82.8
[18 empty] | 1 | 5 | 1.2 | 6
[18 empty] | 2 | 1.2 | 1.2 | 2.88 | 13 |  | 5
[17 empty] | Fourth floor | 1 | 2 | 2.4 | 4.8
[18 empty] | 4 | 1.2 | 2.4 | 11.52
[18 empty] | 9 | 2.4 | 2.4 | 51.84
[18 empty] | 3 | 6.9 | 2.4 | 49.68
[18 empty] | 1 | 2 | 1.2 | 2.4
[18 empty] | 1 | 2.4 | 2 | 4.8 | 7 |  | 4
[17 empty] | Fifth floor | 1 | 7.2 | 2.4 | 17.28
[18 empty] | 1 | 1.2 | 2.4 | 2.88
[18 empty] | 1 | 2.4 | 2.4 | 5.76
[18 empty] | 0 | 6.9 | 2.4 | 0
[18 empty] | 1 | 5 | 2.4 | 12
[18 empty] | 0 | 1.2 | 1.2 | 0 | 1 |  | 1
[19 empty] | 121.5 | Total | 840.24 | 49 | 0 | 30 | 4 | 1

## Internal walls
ELEMENTAL COSTS |  |  | 2.G INTERNAL WALLS
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
[6 empty] | 0 | 0 | 0 |  |  |  |  | Internal walls | Division walls |  |  | Lift walls |  |  | Internal walls
| Division walls |  |  | Sq.m | 659.04 | 60 | 17.4225 | 39542.4 | [5 empty] | girth | height | area | girth | height | area | girth | height | area
| Lift walls |  |  | Sq.m | 104.664 | 60 | 2.7669 | 6279.84 |  |  |  |  | Grd floor | 35.03 | 2.4 | 84.072 | 8.15 | 2.4 | 19.56 | 101.47 | 2.4 | 243.528
| Internal walls |  |  | Sq.m | 1314.048 | 40 | 23.1589 | 52561.92 | [7 empty] | 0 |  |  | 0 |  |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | First floor | 67.8 | 2.4 | 162.72 | 8.91 | 2.4 | 21.384 | 126.23 | 2.4 | 302.952
[5 empty] | 0 | 0 | 0 | 0 | [7 empty] | 0 |  |  | 0 |  |  | 0
| Extra over for water resistant board to bathrooms |  |  | Sq.m | 640 | 5 | 1.4099 | 3200 |  |  |  |  | Second floor | 65.75 | 2.4 | 157.8 | 8.73 | 2.4 | 20.952 | 117.5 | 2.4 | 282
|  | 20sq.m per bathroom |  |  | 0 | 0 | 0 | 0 | [7 empty] | 0 |  |  | 0 |  |  | 0
|  | =32 x20 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | Third floor | 68.15 | 2.4 | 163.56 | 9.22 | 2.4 | 22.128 | 105.22 | 2.4 | 252.528
[5 empty] | 0 | 0 |  | 0 | [7 empty] | 0 |  |  | 0 |  |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Fourth floor | 37.87 | 2.4 | 90.888 | 8.6 | 2.4 | 20.64 | 94.79 | 2.4 | 227.496
[5 empty] | 0 | 0 | 0 | 0 | [7 empty] | 0 |  |  | 0 |  |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | Fifth floor | 0 |  | 0 | 0 |  | 0 | 2.31 | 2.4 | 5.544
[5 empty] | 0 | 0 | 0 | 0 | [7 empty] | 0 |  |  | 0 |  |  | 0
[5 empty] | 0 | 0 |  | 0 | first | second | third | total | Total |  |  | 659.04 |  |  | 104.664 |  |  | 1314.048
[5 empty] | 0 | 0 | 0 | 0 | 370.5 | 279 | 370.5 | 1020
[5 empty] | 0 | 0 | 0 | 0 | 108 | 108 | 108 | 324
[5 empty] | 0 | 0 | 0 | 0 | 558 | 547.5 | 558 | 1663.5
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | fourth | fifth | sixth | total
[5 empty] | 0 | 0 | 0 | 0 | 408 | 502.5 | 408 | 1318.5
[5 empty] | 0 | 0 | 0 | 0 | 108 | 128 | 128 | 364
[5 empty] | 0 | 0 | 0 | 0 | 741 | 781.5 | 741 | 2263.5
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
2.G Internal walls total to summary | [5 empty] | 0 | 44.7582 | 101584.16

## Internal doors
ELEMENTAL COSTS |  |  | 2.H INTERNAL DOORS
Description |  |  |  | Element | Element unit | Element unit | cost per m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £ |  |  |  |  | Cupboard
[10 empty] | Single | Pair | Sliding | sliding
| House type |  |  |  | 0 | 0 | 0 | 0 | Grd | 23 |  |  | 1
|  | Entrance( inc with external doors ) |  | Nr. | 0 | 350 | 0 | 0 | First | 32 | 2 |  | 0
|  | Single |  | Nr. | 143 | 250 | 15.7515 | 35750 | Second | 34 | 2 | 1 | 0
|  | Pair |  | Nr. | 4 | 400 | 0.70496 | 1600 | Third | 29 |  | 0 | 0
|  | Sliding |  | Nr. | 1 | 1500 | 0.6609 | 1500 | Fourth | 25 |  | 0 | 1
|  | Sliding cupboard doors |  | Nr. | 4 | 750 | 1.3218 | 3000 | Fifth | 0 |  |  | 2
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | Total | 143 | 4 | 1 | 4
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
2. Internal Doors total to summary |  |  |  |  | 0 |  | 18.4392 | 41850

## Wall finishes
ELEMENTAL COSTS |  |  | 3.A WALL FINISHES
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Internal face of external walls |  |  | Sq.m | 1575.7912 | 11 | 7.6373 | 17333.7026
[5 empty] | 0 | 0 | 0 | 0
| Division walls |  |  | Sq.m | 1318.08 | 11 | 6.3882 | 14498.88
[5 empty] | 0 | 0 | 0 | 0
| Internal walls ( Decorations only ) |  |  | Sq.m | 2628.096 | 4 | 4.6318 | 10512.384
[5 empty] | 0 | 0 | 0 | 0
| Lift walls |  |  | Sq.m | 104.664 | 11 | 0.50727 | 1151.304
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Tiling to bathrooms |  |  |  | 0 | 0 | 0 | 0
|  | Bathrooms = 5 sq.m |  | Sq.m | 160 | 20 | 1.4099 | 3200
[5 empty] | 0 | 0 | 0 | 0
|  | Kitchens = 11 sq.m |  | Sq.m | 319 | 20 | 2.811 | 6380
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Allowance for enhanced finishes to private ownership flats |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
|  | Bathrooms and kitchens ( excluded ) |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2A. Wall Finishes total to summary | [5 empty] | 0 | 23.3855 | 53076.2707

## Floor finishes
ELEMENTAL COSTS |  |  | 3.B FLOOR FINISHES
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Allowance for floor finishes |  |  |  | 0 | 0 | 0 | 0
| To flats ( commercial shell only ) |  |  | Sq.m | 2257.43 | 43 | 42.769 | 97069.49
|  | Screed | 15 |  | 0 | 0 | 0 | 0
|  | Insul | 10 |  | 0 | 0 | 0 | 0
|  | Finish | 8 |  | 0 | 0 | 0 | 0
|  | Skirtings | 10 |  | 0 | 0 | 0 | 0
|  |  | 43 |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Staircase areas |  |  |  | 0 | 0 | 0 | 0
|  | say screed and vinyl |  | Sq.m | 321.01 | 35 | 4.9503 | 11235.35
[5 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
| Allowance for entrance mats |  |  | Nr, | 29 | 150 |  | 4350
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Allowance for enhanced finishes to private ownership |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Laminate wood to halls and living rooms |  |  |  | 0 | 0 | 0 | 0 | Areas | Nr. Units | Total
|  |  | Type G-grd | Sq.m | 38.35 | 20 | 0.33794 | 767 | 38.35 | 1 | 38.35
|  |  | Type G-first | Sq.m | 2.66 | 20 | 0.02344 | 53.2 | 2.66 | 1 | 2.66
|  |  | Type G-second | Sq.m | 29.22 | 20 | 0.25749 | 584.4 | 29.22 | 1 | 29.22
|  |  | Type G-third | Sq.m | 46.56 | 20 | 0.41029 | 931.2 | 46.56 | 1 | 46.56
|  |  | TypeG-fourth | Sq.m | 13.92 | 20 | 0.12266 | 278.4 | 13.92 | 1 | 13.92
|  |  | Type D | Sq.m | 35.78 | 20 | 0.3153 | 715.6 | 35.78 | 1 | 35.78
|  |  | Type B | Sq.m | 28.63 | 20 | 0.25229 | 572.6 | 28.63 | 1 | 28.63
|  |  | Type C | Sq.m | 113.55 | 20 | 1.0006 | 2271 | 22.71 | 5 | 113.55
|  |  | Type F-Fourth floor | Sq.m | 14.64 | 20 | 0.12901 | 292.8 | 14.64 | 1 | 14.64
|  |  | Type F-Fifth floor | Sq.m | 46.72 | 20 | 0.4117 | 934.4 | 46.72 | 1 | 46.72
| Carpet to bedrooms |  |  |  | 0 | 0 | 0 | 0 | Areas | Nr. Units | Total
|  |  | Type G-first | Sq.m | 29.15 | 12 | 0.15412 | 349.8 | 29.15 | 1 | 29.15
|  |  | Type G-second | Sq.m | 14.43 | 12 | 0.076295 | 173.16 | 14.43 | 1 | 14.43
|  |  | Type G-fourth | Sq.m | 31.76 | 12 | 0.16792 | 381.12 | 31.76 | 1 | 31.76
|  |  | Type D | Sq.m | 24.02 | 12 | 0.127 | 288.24 | 24.02 | 1 | 24.02
|  |  | Type B | Sq.m | 12.13 | 12 | 0.064134 | 145.56 | 12.13 | 1 | 12.13
|  |  | Type C | Sq.m | 117.4 | 12 | 0.62072 | 1408.8 | 23.48 | 5 | 117.4
|  |  | Type F-Fourth floor | Sq.m | 12.24 | 12 | 0.064716 | 146.88 | 12.24 | 1 | 12.24
|  |  | Type F-Fourth floor | Sq.m | 9.12 | 12 | 0.04822 | 109.44 | 9.12 | 1 | 9.12
| Carpets to Staircases |  | say 8 nr. X 7sq.m | Sq.m | 56 | 12 | 0.29608 | 672
[5 empty] | 0 | 0 | 0 | 0 |  |  | 0
| Ceramic to bathrooms |  |  |  | 0 | 0 | 0 | 0 | Areas | Nr. Units | Total
|  |  | Type G | Sq.m | 14 | 17 | 0.10486 | 238 | 6.22 | 5 | 31.1
|  |  | Type D | Sq.m | 103 | 17 | 0.77149 | 1751 | 4.56 | 4.35 | 19.836
|  |  | Type B | Sq.m | 4.54 | 17 | 0.034006 | 77.18 | 4.54 | 1 | 4.54
|  |  | Type C | Sq.m | 22.6 | 17 | 0.16928 | 384.2 | 4.52 | 5 | 22.6
|  |  | Type F-Fourth floor | Sq.m | 4.96 | 17 | 0.037152 | 84.32 | 4.96 | 1 | 4.96
[5 empty] | 0 | 0 | 0 | 0
3.B Floor finishes total to summary |  |  |  |  | 0 | 0 | 55.6327 | 126265.14

## Ceiling finishes
ELEMENTAL COSTS |  | 3.C CEILING FINISHES
Description |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  | Unit | quantity | rate | floor area | of element
[5 empty] | £ | £ | £
| Allowance for plasterboard on battens |  | Sq.m | 2257.43 | 20 | 19.8926 | 45148.6
|  |  |  | 0 | 0 | 0 | 0
| Allowance for finish to underside of staircases |  | Sq.m | 321.01 | 15 | 2.1216 | 4815.15
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
| Commercial left as shell |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
3.C Ceiling finishes total to summary | [5 empty] | 22.0141 | 49963.75

## Fittings
ELEMENTAL COSTS |  | 4.0 FITTINGS & FURNISHINGS
Description |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  | Unit | quantity | rate | floor area | of element
[5 empty] | £ | £ | £
[9 empty] | Kitchen units | Wardrobes | Sundries
| Kitchen fittings |  | Nr. | 29 | 1350 | 1.6025 | 39150 | Grtd floor | 6 | 8 | 6
|  |  |  | 0 | 0 | 0 | 0 | First floor | 5 | 10 | 5
| Allowance for enhanced units |  | Nr. | 11 | 500 | 0.22513 | 5500 | Sec floor | 7 | 7 | 7
|  |  |  | 0 | 0 | 0 | 0 | Third floor | 7 | 9 | 7
|  |  |  | 0 | 0 | 0 | 0 | Fourth floor | 3 | 10 | 3
| Wardrobes |  | Nr. | 44 | 450 | 0.81047 | 19800 | Fifth floor | 1 | 0 | 1
|  |  |  | 0 | 0 | 0 | 0 |  | 29 | 44 | 29
| Sundries |  | Nr. | 29 | 500 | 0.59353 | 14500
|  |  |  | 0 | 0 | 0 | 0
| Curtain battens |  | Nr. | 121.5 | 15 | 0.0746 | 1822.5
|  |  |  | 0 | 0 | 0 | 0
| Storage bins( lockable ) |  | Nr. | 11 | 35 | 0.015759 | 385
|  |  |  | 0 | 0 | 0 | 0
| Post boxes |  | Nr. | 3 | 500 | 0.061399 | 1500
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0
4.0 Fittings total to summary | [5 empty] | 3.3834 | 82657.5

## Services
ELEMENTAL COSTS |  |  | 5.0 SERVICES
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
San ware,Disposal systems,M&E,Lift |  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
[10 empty] | WC | Basins | Bath with shower | Shower
| Sanitary fittings |  |  |  | 0 | 0 | 0 | 0 | Grd | 6 | 6 | 6
[5 empty] | 0 | 0 | 0 | 0 | First | 7 | 7 | 6
|  | W.C with mirror over |  | Nr. | 32 | 300 | 4.2298 | 9600 | Second | 7 | 7 | 7
|  | Basins |  | Nr. | 32 | 150 | 2.1149 | 4800 | Third | 7 | 7 | 7
|  | Bath with shower over |  | Nr. | 31 | 450 | 6.1464 | 13950 | Fourth | 5 | 5 | 5
[5 empty] | 0 |  | 0 | 0 | Fifth | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| M & E to each flat |  | 1 Bed | Nr. | 13 | 11500 | 65.8701 | 149500 |  | 32 | 32 | 31
|  |  | 2 Bed | Nr. | 10 | 12500 | 55.0753 | 125000
|  |  | 3 Bed | Nr. | 6 | 13500 | 35.6888 | 81000
|  |  | commercial unit | Nr. | 1 | 3500 | 1.5421 | 3500
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Extract vents from bathroms and kitchens |  |  | Nr. | 61 | 300 | 8.063 | 18300
[5 empty] | 0 | 0 | 0 | 0
| Lifts |  |  | Nr. | 1 | 45000 | 19.8271 | 45000
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Extra for disabled persons bathrooms say |  |  | Nr. | 12 | 350 | 1.8505 | 4200
[5 empty] | 0 | 0 | 0 | 0
| White goods to |  |  |  | 0 | 0 | 0 | 0
|  | Private ownership ( excluded ) |  | Nr. |  | 0 | 0 | 0
|  | To others ( excluded ) |  | Nr. |  | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Video entry systems |  |  | Nr. | 29 | 300 | 3.8332 | 8700
[5 empty] | 0 | 0 | 0 | 0
| IRS system |  |  | Nr. | 29 | 300 | 3.8332 | 8700
|  | EO for alarm to disabled persons |  | Nr. | 12 | 100 | 0.52872 | 1200
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
Sub total |  |  |  |  | 0 | 0 | 208.6032 | 473450
[5 empty] | 0 | 0 | 0
BWIC |  |  | 5% |  | 0 | 0 | 13.2978 | 30181
[5 empty] | 0 | 0 | 0
Services total to summary |  |  |  |  | 0 | 0 | 221.901 | 503631

## Roads paths etc
ELEMENTAL COSTS |  |  | 6.A SITE WORKS
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
Site preparation & demolition |  |  |  | Unit | quantity | rate | floor area | of element
Retaining walls,fencing | [5 empty] | £ | £ | £
[9 empty] | Terraced areas |  | Paved areas
| Terraced areas |  |  | Sq.m | 96.26 | 40 | 1.6965 | 3850.4 |  | 3.55 |  | 164.01
[5 empty] | 0 | 0 | 0 | 0 |  | 3.47 |  | 0
| Paved areas |  |  | Sq.m | 164.01 | 30 | 2.1679 | 4920.3 |  | 3.48 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  | 3.45
| Form steps down from pavement level |  |  | Nr. | 3 | 1000 | 1.3218 | 3000 |  | 16.62
[5 empty] | 0 | 0 | 0 | 0 |  | 33.04
| Balustrades to ditto |  |  | M. | 9 | 350 | 1.3879 | 3150 |  | 32.65
[5 empty] | 0 | 0 | 0 | 0 | Total | 96.26 | Total | 164.01
| Railing to back edge of pavement |  |  | M. | 50.82 | 175 | 3.9185 | 8893.5
[5 empty] | 0 | 0 | 0 | 0
| Balustrade to private terrace areas |  |  | M. | 49.52 | 175 | 3.8183 | 8666
[5 empty] | 0 | 0 | 0 | 0
| Division screens to ditto |  |  | Nr. | 9 | 750 | 2.9741 | 6750
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
| Boundary fencing |  |  | M. | 59.88 | 50 | 1.3192 | 2994
[5 empty] | 0 | 0 | 0 | 0
| Gates |  |  | Nr. | 2 | 500 | 0.4406 | 1000
[5 empty] | 0 | 0 | 0 | 0
| Landscaped areas |  |  | Sq.m | 232.69 | 15 | 1.5379 | 3490.35 | Landscaped areas
|  | Plants etc |  | Item | 1 | 2500 | 1.1015 | 2500 |  | Site area | 1044.05
[5 empty] | 0 | 0 | 0 | 0 | Less
| Bicycle stand |  |  | Sq.m | 14 | 30 | 0.18505 | 420 | Building | 537.09
[5 empty] | 0 | 0 | 0 | 0 | Terraces | 96.26
[5 empty] | 0 | 0 | 0 | 0 | Paved areas | 164.01
| Retaining wall to rear of site |  |  | M. | 60 | 125 | 3.3045 | 7500 | Bicycle stand | 14 | 811.36
[5 empty] | 0 | 0 | 0 | 0
| Refuse areas |  | Large | Nr. | 1 | 3000 | 1.3218 | 3000 |  | Total | 232.69
[5 empty] | 0 | 0 | 0 | 0
| Refuse areas |  | small | Nr. | 2 | 1500 | 1.3218 | 3000
[5 empty] | 0 | 0 | 0 | 0
| Cycle racks |  |  | Nr. | 30 | 150 | 1.9827 | 4500
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
6.A Site works to summary | [6 empty] | 29.7999 | 67634.55

## Drainage
ELEMENTAL COSTS |  |  | 6.B DRAINAGE
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Allowance for drainage |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
|  | Buildings |  | Sq.m | 2671.68 | 30 | 35.3145 | 80150.4
[5 empty] | 0 | 0 | 0 | 0
|  | Externals |  | Sq.m | 506.96 | 10 | 2.2337 | 5069.6
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
6.B Drainage total to summary | [6 empty] | 37.5481 | 85220

## External services
ELEMENTAL COSTS |  |  | 6.C EXTERNAL SERVICES
Description |  |  |  | Element | Element unit | Element unit | cost m2 of | Total cost
|  |  |  | Unit | quantity | rate | floor area | of element
[6 empty] | £ | £ | £
| Allowance for connections |  |  |  | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
|  | Water |  | Nr. | 30 | 1500 | 19.8271 | 45000
|  | Electrical |  | Nr. | 30 | 165 | 2.181 | 4950
|  | Gas |  | Nr. | 30 | 140 | 1.8505 | 4200
|  | BT |  | Nr. | 30 | 100 | 1.3218 | 3000
[5 empty] | 0 | 0 | 0 | 0
| Allowance for external lighting |  |  | Nr. | 30 | 350 | 4.6263 | 10500
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0
Sub total | [6 empty] | 29.8068 | 67650
0
BWIC |  |  | 5% |  |  |  | 1.4903 | 3382.5
0
6.C External services total to summary | [6 empty] | 31.2971 | 71032.5