## UPDATED GRAPHS (hidden)
8sqm PER PERSON
Desks + storage | #REF! | #REF!
Local support | #REF! | #REF!
Central support | #REF! | #REF!
Fit factor | #REF! | #REF!
Circulation | #REF! | #REF!
#REF!
6SQM PER PERSON
Desks + storage | #REF! | #REF!
Local support | #REF! | #REF!
Central support | #REF! | #REF!
Fit factor | #REF! | #REF!
Circulation | #REF! | #REF!
#REF!

## Cost Model
Activity Based Working Cost Model
Structural Alterations / Builderswork |  |  | Mechanical Installations
Total (£) | £/m² | % | Total (£) | £/m² | % | 248220
122000 | 10.0156 | 0.80231 | 2132000 | 175.0267 | 14.0208 | 12411000 | 1018.8819 | 81.6191
Form openings for accommodation staircase incl. scaffold & crashdeck; minor strip-out works. |  |  | Validation of existing systems; amend / extend CAT A installations to suit proposed layout; modification / extension of primary & secondary ductwork; CRAC units to computer rooms including chilled water and condensate pipework; water and disposal installations to café areas and cleaners cupboards; dedicated extract to café; air handling units and supporting DX system to conference area; relocation of services to enable construction of accommodation staircase. |  |  | 2795000 | 229.4557 | 18.3809
[6 empty] | 15206000 | 1248.3376 | 100
Raised Access Floors |  |  | Electrical Installations
Total (£) | £/m² | % | Total (£) | £/m² | %
244000 | 20.0312 | 1.6046 | 2680000 | 220.0148 | 17.6246
Assume existing raised floor; take up and replace to allow access to floor void; cutting in areas of slab-to-slab partitions; replacement tiles and pedestals; anti-static raised floor to computer rooms; GIFA Floor to areas of hard floor finishes. |  |  | Validation of existing systems; retain existing CAT A lighting installation; specialist lighting to collaboration areas; feature lighting to meeting rooms; scene setting; relocation of services to enable construction of accommodation staircase. Power to mechanical installations; new tenant distribution boards; small power, underfloor power distribution; UPS to Main Equipment Room. Containment for data and LV installations; harmonics testing.
Suspended Ceilings |  |  | Fire Alarms
Total (£) | £/m² | % | Total (£) | £/m² | %
366000 | 30.0468 | 2.4069 | 366000 | 30.0468 | 2.4069
Assume existing perforated metal tile suspended ceiling with plasterboard margin; take down for access and reinstall; replacement tiles; trims; feature ceilings to collaboration and conferencing areas; removal of CAT A ceilings to computer rooms. Assume no works to landlord areas, e.g. toilets and lift lobbies. |  |  | Reconfigure fire alarm and public address installations to suit proposed layout; VESDA and gas suppression to computer rooms.
Partitions (Drywall) |  |  | Sprinklers
Total (£) | £/m² | % | Total (£) | £/m² | %
975000 | 80.0427 | 6.4119 | 244000 | 20.0312 | 1.6046
New partitions to form proposed layout; all meeting rooms to be slab to slab partitioning; allowance for plywood patressing to walls for AV screens; fire rated walls to computer rooms; acoustic baffles above glazed partitions; fire stopping generally. |  |  | Relocate sprinklers to suit proposed layout; extend / modify existing sprinkler installation to comply with regulations; pre-action sprinkler to computer rooms; drain down sprinkler system during works as required; re-fill; test and commission. Excludes void protection.
Glazed / System Partitions |  |  | Building Management System
Total (£) | £/m² | % | Total (£) | £/m² | %
147000 | 12.068 | 0.96672 | 488000 | 40.0624 | 3.2093
12.8mm single glazed partition system to meeting rooms including glazed doors, abutments and ironmongery; manifestation. Acoustic rating RW38db. Lift lobby doorsets, assume 2 per floor. |  |  | New controllers and field wiring; new head end and software; metering of lighting and power; monitoring of new infrastructure plant; motor control centre panel.
Moveable Walls |  |  | Audio Visual
Total (£) | £/m² | % | Total (£) | £/m² | %
61000 | 5.0078 | 0.40116 | 439000 | 36.0397 | 2.887
Allowance for moveable walls to form large collaboration / presentation spaces; assume 3 Nr. approximately 5m long; 55db; magnetic writable finish including ceiling baffle. |  |  | AV installations to meeting rooms, reception breakout and collaboration areas; wireless connections; TV distribution system; meeting room booking system including booking panels; dual screen video conference.
Floor Finishes |  |  | Security
Total (£) | £/m² | % | Total (£) | £/m² | %
366000 | 30.0468 | 2.4069 | 122000 | 10.0156 | 0.80231 | 366000
Medium quality carpet tiles generally; timber floor to break-out areas; protection until completion. |  |  | Card readers to entrance doors on each floor, computer room, secure storage. CCTV cameras.
Stone & Ceramics |  |  | Structured Cabling
Total (£) | £/m² | % | Total (£) | £/m² | %
61000 | 5.0078 | 0.40116 | 305000 | 25.039 | 2.0058
Tiling to splashbacks in break-out areas; allowance for stone floor to concierge area. |  |  | Wireless access points, fibre backbone, CAT 6E cabling, cable matting, patch leads, cabinets and powerstrips to computer rooms.
Decorations |  |  | Main Contractor Fee
Total (£) | £/m² | % | Total (£) | £/m² | %
159000 | 13.0531 | 1.0456 | 232000 | 19.0461 | 1.5257
Emulsion paint to new and existing walls and ceilings / margins; eggshell finish to existing basebuild timber doors; magnetic paint to one wall in meeting rooms; paint to skirtings. |  |  | Fee of 2% on total measured works package values.
Joinery & Ironmongery |  |  | Main Contractor Preliminaries
Total (£) | £/m² | % | Total (£) | £/m² | %
1828000 | 150.0698 | 12.0216 | 610000 | 50.078 | 4.0116 | 530000 | 11801000 | 413035
Acoustic panelling to meeting rooms generally; bespoke furniture, banquette seating; locker units; touchdown desks; break out area catering installations; credenzas to client meeting rooms; wall cladding to client meeting rooms; white goods to tea points, concierge reception desk. Timber doorsets. |  |  | Pre-construction fee (£80,000), assume 8 week pre-construction period; 26 week on-site construction period plus two week mobilisation. Assume one move of site set-up to allow completion of the Works.
Signage |  |  | Sub-Total Construction | [5 empty] | 12181
Total (£) | £/m² | % | Total (£) | £/m² | %
98000 | 8.0453 | 0.64448 | 12411000 | 1018.8819 | 81.6191
Statutory, wayfinding and corporate signage and graphics.
Architectural Metalwork / Staircase |  |  | Furniture
Total (£) | £/m² | % | Total (£) | £/m² | %
232000 | 19.0461 | 1.5257 | 2071000 | 170.0189 | 13.6196
Design, manufacture, supply and install staircases. Straight flight, closed tread mild steel accommodation staircase to connect floors; vinyl to treads and risers; low iron heat soaked toughened glass balusters, steel handrail. Finished with 20% gloss cellulose system. |  |  | Bench workstations with 2x power and 2x data presented at desktop; dual monitor arm; 30% sit-stand desks. Café seating to kitchen areas; furniture to collaboration areas including some soft seating; soft seating to concierge / on-floor reception area; flexible tables to conference rooms; allowance of one personal locker per full time employee.
Blinds |  |  | Contingency
Total (£) | £/m² | % | Total (£) | £/m² | %
134000 | 11.0007 | 0.88123 | 724000 | 59.4368 | 4.7613
Manual glare blinds generally; dim-out blinds to conference rooms |  |  | Design reserve allowance of 5% of construction and furniture costs. |  |  |  | 14482000
|  |  | Total Including Furniture and Contingency |  |  |  | 724100
|  |  | Total (£) | £/m² | % |  | 100
|  |  | 15206000 | 1248.3376 | 100
[7 empty] | Assumptions |  |  | NIA | 12181 | 131116.284
[8 empty] | Fit factor of 5% |  | Total Cost | 12411000 | 1018.8819 | 94.6564
[10 empty] | Furniture | 2071000 | 170.0189 | 15.7951
[10 empty] | Contingency | 724000 | 59.4368 | 5.5218
[8 empty] | Circulation Factor of 18% |  | Total Cost | 15206000 | 1248.3376 | 115.9734
Two Stage traditional tender with CDP
Multi-tenanted building
Existing CAT A Installation
Accommodation staircase
Reception in base build
[8 empty] | 1500 full time employees |  | Total Cost per m² NIA | 1248.3376 | 121.7721
[8 empty] | 3 Storeys |  | MC Fee | 2%
Sharing ratio of 80%
Price Date Q3 2017
26 week construction period
8 week preconstruction period
Assume base build BIM model is available
No allowance for phasing
Assume works carried out within normal working hours
Excludes
Professional fees
VAT
IT Hardware & Equipment (by client)